## Config
Property | Value
KNX-Bridge | Bridge knx:ip:bridge [ ipAddress="192.168.178.210", type="TUNNEL", localIp="192.168.178.38" ]
KNX-Bridge-channel-prefix | knx:device:bridge
Persistence-Strategies | Strategies { everyHour : "0 0 * * * ?" everyDay : "0 0 0 * * ?" default = everyChange }
Zoneminder-Bridge | Bridge zoneminder:server:bridge [ hostname="localhost", user="openhab", password="$zmPassword", telnet_port=6802, refresh_interval_disk_usage=1 ]
Zoneminder-Bridge-channel-prefix | zoneminder:monitor:bridge
Zoneminder-Video-url | http://localhost/zm/cgi-bin/nph-zms?mode=jpeg&monitor=$number&scale=50&maxfps=10&buffer=1000&user=view&pass=oothei5V"

## KNX
Type | Icon | KNX-Channel-Type | Device | Sitemap-Frame | Group | Id | ga | Label | Format | Persistency
Switch | light |  | generic | Außen |  | FloodlightOst | 8/1/2 | Flutlicht Garten Ost
Switch | light |  | generic | Außen |  | LightTerrasseEG | 2/1/10 | Licht Terasse EG
Number | temperature |  | generic | Poolpumpenschacht |  | TemperaturePoolPumpenschacht | <8/3/0 | Temperatur Poolpumpenschacht | %.1f °C | everyHour
Number | humidity |  | generic | Poolpumpenschacht |  | RelHumidityPumpenschacht | <8/3/1 | relative Feuchte Poolpumpenschacht | %.1f %% | everyHour
Number | temperature |  | GIRA-Wetterstation | Wetterstation |  | WeatherTemperature | <8/3/10 | Wetterstation: Außentemperatur | %.1f °C | everyHour
Number | humidity |  | GIRA-Wetterstation | Wetterstation |  | WeatherRelHumidity | <8/3/11 | Wetterstation: relative Feuchte | %.1f %% | everyHour
Switch | rain |  | GIRA-Wetterstation | Wetterstation |  | WeatherRain | <8/3/12 | Wetterstation: Niederschlag | %.1f | everyChange, restoreOnStartup
Number | wind |  | GIRA-Wetterstation | Wetterstation |  | WeatherWind | <8/3/13 | Wetterstation: Windgeschwindigkeit | %.1f m/s | everyHour
Number | pressure |  | GIRA-Wetterstation | Wetterstation |  | WeatherAirPressure | <8/3/15 | Wetterstation: Luftdruck | %.1f pa | everyHour
Switch | alarm |  | GIRA-Wetterstation | Wetterstation |  | WeatherWindAlarm | <8/3/20 | Wetterstation: Windstärkealarm | %.1f | everyChange, restoreOnStartup
Number | water |  | OSPA | Pool |  | OSPA_PH_ActValue | <7/7/2 | Pool: PH Istwert | %.1f | everyHour
Number | water |  | OSPA | Pool |  | OSPA_Redox_SetValue | <7/7/3 | Pool: Redox Istwert | %.1f | everyHour
Number | temperature |  | OSPA | Pool |  | OSPA_TemperaturePool_ActValue | <7/7/4 | Pool: Temperatur Pool Istwert | %.1f °C | everyHour
Number | temperature |  | OSPA | Pool |  | OSPA_TemperaturePool_SetValue | <7/7/7 | Pool: Temperatur Pool Sollwert | %.1f °C | everyChange, restoreOnStartup
Number | pump |  | OSPA | Pool |  | OSPA_Filterpumpe1Betrieb | <7/7/11 | Pool: Filterpumpe 1 Betrieb | %.1f | everyChange, restoreOnStartup
Number | pump |  | OSPA | Pool |  | OSPA_Filterpumpe1Stoerung | <7/7/12 | Pool: Filterpumpe 1 Störung | %.1f | everyChange, restoreOnStartup
Number | flow |  | OSPA | Pool |  | OSPA_Filterspuelung1 | <7/7/45 | Pool: Filterspülung 1 | %.1f | everyChange, restoreOnStartup

## Zoneminder
id | number | label
monitor2 | 2 | Garten Ost
monitor3 | 3 | Garten Pool
monitor4 | 4 | Garten Süd
monitor5 | 5 | Terasse EG Ost
monitor6 | 6 | Haustür

## Defs
KNX-Channel-Types | Item-Types | Icons
switch | Switch | light
dimmer | Dimmer | temperature
rollershutter | Rollershutter | humidity
contact | Contact | rain
number | Number | pressure
string | String | alarm
datetime | DateTime | rollershutter
switch-control |  | frontdoor
dimmer-control |  | water
rollershutter-control |  | wind
contact-control |  | window
number-control |  | camera
string-control |  | door
datetime-control |  | pump
flow
garagedoor